## Input Sheet
Enter the input data for your project into the yellow cells below. When finished, click on the "Total Cost of Ownership Summary" tab to view the cost savings and ROI realized with the Vaporgard LED luminaire
Design Parameter |  |  |  |  | Input Data |  | Input Watts | Ave Lamp Life
1 | Customer or Project Name |  |  |  | Customer Name
2 | Traditional Lamp Source (Click Cell to Select Lamp Source) |  |  |  | 200W Incandescent | 200W Incandescent | 215 | 2500 | 200W Incandescent
3 | What is the quantity of luminaires required ? |  |  |  | 100
4 | Enter a cost of the existing luminaire ($ each) |  |  |  | 100
5 | Cost of replacement lamps in ($) |  |  |  | 1
6 | Cost of disposal per lamp ($) |  |  |  | 0
7 | Time per fixture for lamp maintenance (Hours) |  |  |  | 1
8 | How many people are required for lamp maintenance ? |  |  |  | 2
9 | Enter the labor rate ($ per Hour) |  |  |  | 75
10 | What is the energy cost on site ? ( $ / kWhr ) |  |  |  | 0.08
11 | Enter lighting hours of operation per day (12, 24 etc) |  |  |  | 12 |  | 4368 | Operating Hours Per Year
12 | LED Light Source (Click Cell to Select LED Source) |  |  |  | V2L - 22W | V2L - 22W | 22 | 50000 | V2L - 22W
13 | LED Luminaire Cost |  |  |  | 400
14 | Other Fixed Cost Assosciated with Lamp Maintenance (Lift Rental, Scaffolding, etc) |  |  |  | 0
15 | Estimated Rebates Per Fixture (Utility, Tax, etc.) - If Available |  |  |  | 0
CHART A |  |  |  | Chart B
| Lamp Source | Input Watts | Avg Lamp Life |  | Lamp Source | Input Watts | Ave Lamp Life
A | 100W Incandescent | 100 | 2500 | A | V2L - 22W | 22 | 50000
B | 150W Incandescent | 150 | 2500 | B
C | 200W Incandescent | 215 | 2500 | C
D | 50W HPS | 66 | 24000 | D
E |  |  |  | E
F
G
H
I
J
K
L
M
N
O
P
Q
R
S
T
U
V
W
| HID Luminaire | CHAMP Model
| 100W - 200W Incandescent | V2L
50W HPS
Notes:
Be sure replacement time includes time for approvals, down time, paperwork, lock out tag out, man lift, etc.
Use the fully loaded labor rate
Many Harsh and Hazardous locations require 2 person teams

## Total Cost of Ownership Summary
Toll Free: (866) 764-5454 Fax: (315) 477-5179 crouse.customerctr@cooperindustries.com
Customer Name
Vaporgard LED - ROI Calculator
Energy & Maintenance Savings
Energy Savings |  |  |  |  | 200W Incandescent |  | LED SYSTEM
Annual energy consumption (kWhr) |  |  |  |  | 93912 |  | 9609.6
Annual energy cost ($) |  |  |  |  | 7512.96 |  | 768.768
Energy Cost over life of LED System |  |  |  |  | 86000 |  | 8800
Annual Energy Savings ($) | [6 empty] | 6744.192
Energy Savings over Life of the LED System ($) | [6 empty] | 77200
Maintenance Savings |  |  |  |  | 200W Incandescent |  | LED SYSTEM
Years of Maintenance Free Operation |  |  |  |  | 0.31479 |  | 11.4469
Annual Cost of Replacement Lamps ($) |  |  |  |  | 317.6727 |  | 0
Annual Fixed Maintenance Costs |  |  |  |  | 0 |  | 0
Annual Labor Costs ($) |  |  |  |  | 47650.9091 |  | 0
Annual Maintenance Savings ($) | [6 empty] | 47968.5818
Maintenance Savings over Life of the LED System ($) | [6 empty] | 549090.9091
Total Cost of Ownership Comparison
|  | 200W Incandescent | LED |  |  | Total $ Savings!
| Initial Investment | 10000 | 40000 |  | Energy Savings: | 77200
| Tax Rebate | 0 | 0 |  | Labor & Material Savings: | 549090.9091
| Net Investment | 10000 | 40000 |  | Total Savings: | 626290.9091
| Total Energy Costs | 86000 | 8800 |  | Initial Investment: | -40000
| Total Maintenance Costs | 549090.9091 | 0 |  | Estimated Tax Rebate: | 0
| Total Cost of Ownership | 645090.9091 | 48800 |  | Total $ Return: | 586290.9091
| Payback Period on the Incremental LED Cost (Years) |  |  |  |  | 0.54832
| Payback Period on the Entire LED Installation (Years) |  |  |  |  | 0.73109
`
Equivilant Environmental Impact*
CO2 Emissions (lbs): |  | 118888 |  | Fewer Cars on the Road: |  |  | 10.3651
(tons): |  | 59.444
|  |  |  | Acres of Trees Planted: |  |  | 14.7394
Coal Emissions (lbs): |  | 57712.6214
(tons): |  | 28.8563 |  |  |  | # Housholds Annual Electricity Usage: | 11.1527
*Based on Environmental Protection Agency (EPA) emissions factor assumptions.
Note on F19: 50% of HID fixtures fail after reaching its economic rated life